## Read First
Please read the following instructions before completing the Template
1. Does the format in which the data is pasted into the Excel template matter?
Yes, the format in which the data is pasted into the template does matter. Please check the following before uploading your data to the portal:
• That the data is pasted into the correct fields
• That the units used are the same as the ones available in the pull-down options. Please note: the dropdown fields are case sensitive
• That the pasted data does not contain any embedded formulas
• Row 9 of the Excel Template is an example row only and will not be included in your benchmarked data. Please DO NOT delete this example row or any of the rows above this.
You will receive an error message if data is pasted into the wrong column or with formulas, or pasted units are not the same as the ones available in the pull-down menus.
2. Why are the units of measurement that I entered into the excel template invalid?
Users must select the unit of measurement in the template from the pull down options. Any custom units entered will be considered invalid.
3. Why do the totals for GHG Emissions and Energy Intensity not calculate automatically on the excel template?
The GHG Emissions and Energy Intensity values will calculate automatically once you have completed the data validation process. You do not need to finalize the data for these values to calculate. After the data validation process, you can download the spreadsheet with GHG Emissions and Energy Intensity data via the “Excel template” button on the reporting portal.
Note: that there are no macros functions in this year’s templates.
NOTE: Please DO NOT close the browser window during the downloading / uploading of the data. DO NOT move away from the page or close the browser.
Should you have any additional questions, please visit the Toolkit located on the reporting portal under the “Toolkit” tab on the homepage.
Otherwise, please feel free to contact us at BPSSupport@ontario.ca

## Submission Data
Press TAB to move to input areas. Press UP or DOWN ARROW in column A to read through the document. | Energy Consumption and Greenhouse Gas Emissions Reporting - for 2012 | [16 empty] | FloorArea | Electricity | NaturalGas | FuelOil12 | FuelOil46 | Propane | Coal | Wood | DistrictHeating | DistrictCooling | Renewable | operation Type | Administrative offices and related facilities, including municipal council chambers | Public libraries | Cultural facilities | Indoor recreational facilities | Community centres | Art galleries | Performing arts facilities | Auditoriums | Indoor sports arenas | Indoor ice rinks | Indoor swimming pools | Gyms and indoor courts for playing tennis, basketball or other sports | Ambulance stations and associated offices and facilities | Fire stations and associated offices and facilities | Police stations and associated offices and facilities | Storage facilities where equipment or vehicles are maintained, repaired or stored | Parking garages | Facilities related to the treatment of water | Facilities related to the treatment of sewage | Facilities related to the pumping of water | Facilities related to the pumping of sewage | Other
Confirm consecutive 12-mth period (mth-yr to mth-yr) | Jan-12 to Dec-12 | [16 empty] | Square feet | kWh | Cubic Meter | Litre | Litre | Litre | Metric Tonne | Metric Tonne | Metric Tonne | Giga Joule | Yes
Sector | [17 empty] | Square meters |  | Giga Joule | [5 empty] | Giga Joule | KL Chilled Water | No
Agency Sub-sector | CityMunicipality | [18 empty] | ekWh | [5 empty] | KL Hot Water
Organization Name | City of Mississauga | Please fill in the mandatory fields indicated in red, in addition to submitting data on your energy usage.
Operation Name | Operation Type | Address | City | Postal Code | Total Floor Area | Unit | Avg hrs/wk | Annual Flow (Mega Litres) | Energy Type and Amount Purchased and Consumed in Natural Units | [5 empty] | Total (calculated in webform)
[9 empty] | Electricity |  | Natural Gas |  | Fuel Oil 1 & 2 |  | GHG Emissions (Kg) | Energy Intensity (ekWh/sqft) | Comments
[9 empty] | Quantity | Unit | Quantity | Unit | Quantity | Unit
Benares Estate - House | Cultural facilities | 1503 Clarkson Rd N | Mississauga | L5J 2W8 | 437 | Square meters | 50 | 0 | 38257.3 | kWh | 6198 | Cubic Meter | 0 | Litre | 15392.3372 | 22.1369
Benares Estate - Visitor Centre | Cultural facilities | 1507 Clarkson Rd N | Mississauga | L5J 2W8 | 327 | Square meters | 50 | 0 | 59900 | kWh | 2857.8 | Cubic Meter | 0 | Litre | 11155.8298 | 25.6469
Bradley Museum - Barn | Cultural facilities | 1620 Orr Rd | Mississauga | L5J 4T2 | 116 | Square meters | 50 | 0 | 3947.6 | kWh | 2945.1 | Cubic Meter | 0 | Litre | 5947.2131 | 28.2293
Bradley Museum - Log Cabin | Cultural facilities | 1610 Orr Road | Mississauga | L5J 4T2 | 126 | Square meters | 50 | 0 | 11596 | kWh | 0 | Cubic Meter | 0 | Litre | 1113.6798 | 8.55
Bradley Museum - Museum | Cultural facilities | 1620 Orr Rd | Mississauga | L5J 4T2 | 151 | Square meters | 50 | 0 | 9714.7 | kWh | 1758 | Cubic Meter | 0 | Litre | 4256.7221 | 17.4721
Bradley Museum - The Anchorage | Cultural facilities | 1610 Orr Road | Mississauga | L5J 4T2 | 164 | Square meters | 50 | 0 | 110820.1 | kWh | 1025.1 | Cubic Meter | 0 | Litre | 12581.2441 | 68.9491
BraeBen Golf Course | Indoor recreational facilities | 5700 Terry Fox Way | Mississauga | L5V 2N7 | 1375 | Square meters | 84 | 0 | 448915.9 | kWh | 43055.3 | Cubic Meter | 0 | Litre | 124515.3957 | 61.2483
Brookmede Centre | Community centres | 2264 Council Ring Road | Mississauga | L5L 1B7 | 200 | Square meters | 84 | 0 | 0 | kWh | 2122.2 | Cubic Meter | 0 | Litre | 4012.2886 | 10.4768
Burnhamthorpe Community Centre & Arena | Indoor ice rinks | 1500 Gulleden Drive | Mississauga | L4X 2T7 | 3424.6 | Square meters | 125 | 0 | 610687.9 | kWh | 49955.5 | Cubic Meter | 0 | Litre | 153097.683 | 30.9696
Burnhamthorpe Community Centre & Arena | Administrative offices and related facilities, including municipal council chambers | 1500 Gulleden Drive | Mississauga | L4X 2T7 | 120.2 | Square meters | 125 | 0 | 21427.6 | kWh | 1752.8 | Cubic Meter | 0 | Litre | 5371.7977 | 30.9594
Burnhamthorpe Community Centre & Arena | Gyms and indoor courts for playing tennis, basketball or other sports | 1500 Gulleden Drive | Mississauga | L4X 2T7 | 660.9 | Square meters | 125 | 0 | 117852.1 | kWh | 9640.5 | Cubic Meter | 0 | Litre | 29545.1053 | 30.969
Burnhamthorpe Community Centre & Arena | Community centres | 1500 Gulleden Drive | Mississauga | L4X 2T7 | 1802.4 | Square meters | 125 | 0 | 321414.7 | kWh | 26292.4 | Cubic Meter | 0 | Litre | 80577.7891 | 30.97
Burnhamthorpe Library & Maja Prentice Theatre | Public libraries | 3650 Dixie Rd | Mississauga | L4Y 3V9 | 4019.2 | Square meters | 72 | 0 | 680156.1 | kWh | 33593.4 | Cubic Meter | 0 | Litre | 128834.7809 | 23.9742
Burnhamthorpe Library & Maja Prentice Theatre | Auditoriums | 3650 Dixie Rd | Mississauga | L4Y 3V9 | 1004.8 | Square meters | 72 | 0 | 170039 | kWh | 8398.4 | Cubic Meter | 0 | Litre | 32208.7874 | 23.9742
Cawthra Community Centre & Arena | Indoor ice rinks | 1399 Cawthra Road | Mississauga | L5G 4L1 | 5435.2 | Square meters | 125 | 0 | 1093906.9 | kWh | 118839.7 | Cubic Meter | 0 | Litre | 329740.3642 | 40.2863
Cawthra Community Centre & Arena | Administrative offices and related facilities, including municipal council chambers | 1399 Cawthra Road | Mississauga | L5G 4L1 | 159.9 | Square meters | 125 | 0 | 32173.7 | kWh | 3495.3 | Cubic Meter | 0 | Litre | 9698.2707 | 40.276
Cawthra Community Centre & Arena | Gyms and indoor courts for playing tennis, basketball or other sports | 1399 Cawthra Road | Mississauga | L5G 4L1 | 1278.9 | Square meters | 125 | 0 | 257389.8 | kWh | 27962.3 | Cubic Meter | 0 | Litre | 77585.9958 | 40.2853
Cawthra Community Centre & Arena | Community centres | 1399 Cawthra Road | Mississauga | L5G 4L1 | 1119 | Square meters | 125 | 0 | 225216.1 | kWh | 24467 | Cubic Meter | 0 | Litre | 67887.7251 | 40.2867
Cawthra Elliot Estate - House | Administrative offices and related facilities, including municipal council chambers | 1507 Cawthra Road | Mississauga | L5G 4L1 | 897 | Square meters | 70 | 0 | 97062 | kWh | 16484.8 | Cubic Meter | 0 | Litre | 40488.4424 | 28.1981
Chappel Estate - House | Administrative offices and related facilities, including municipal council chambers | 4300 Riverwood Park Lane | Mississauga | L5C 2S7 | 837 | Square meters | 70 | 0 | 105787.7 | kWh | 0 | Cubic Meter | 11279.2 | Litre | 41010.2223 | 25.235
Churchill Meadows Library | Public libraries | 3801 Thomas St. | Mississauga | L5M 7G2 | 1232 | Square meters | 72 | 0 | 0 | kWh | 25808.6 | Cubic Meter | 0 | Litre | 48794.436 | 20.6836
Clarke Memorial Hall | Community centres | 161 Lakeshore Rd W | Mississauga | L5H 1G3 | 1403 | Square meters | 72 | 0 | 112040 | kWh | 29311.1 | Cubic Meter | 0 | Litre | 66176.6787 | 28.0465
Clarkson Community Centre Library Arena & Pool | Public libraries | 2475 Truscott Dr | Mississauga | L5J 2B3 | 534.7 | Square meters | 72 | 0 | 106521.8 | kWh | 10764 | Cubic Meter | 0 | Litre | 30581.0627 | 38.3842
Clarkson Community Centre Library Arena & Pool | Indoor ice rinks | 2475 Truscott Dr | Mississauga | L5J 2B3 | 2673.6 | Square meters | 125 | 0 | 532609 | kWh | 53820.1 | Cubic Meter | 0 | Litre | 152905.5026 | 38.3828
Clarkson Community Centre Library Arena & Pool | Administrative offices and related facilities, including municipal council chambers | 2475 Truscott Dr | Mississauga | L5J 2B3 | 229.2 | Square meters | 125 | 0 | 45652.2 | kWh | 4613.1 | Cubic Meter | 0 | Litre | 13106.0887 | 38.3769
Clarkson Community Centre Library Arena & Pool | Indoor swimming pools | 2475 Truscott Dr | Mississauga | L5J 2B3 | 1909.7 | Square meters | 125 | 0 | 380435 | kWh | 38442.9 | Cubic Meter | 0 | Litre | 109218.1621 | 38.3831
Clarkson Community Centre Library Arena & Pool | Community centres | 2475 Truscott Dr | Mississauga | L5J 2B3 | 1298.6 | Square meters | 125 | 0 | 258695.8 | kWh | 26141.2 | Cubic Meter | 0 | Litre | 74268.4032 | 38.383
Clarkson Community Centre Library Arena & Pool | Gyms and indoor courts for playing tennis, basketball or other sports | 2475 Truscott Dr | Mississauga | L5J 2B3 | 993.1 | Square meters | 125 | 0 | 197826.2 | kWh | 19990.3 | Cubic Meter | 0 | Litre | 56793.4292 | 38.3809
Clarkson Yard | Storage facilities where equipment or vehicles are maintained, repaired or stored | 2167 Royal Windsor Dr | Mississauga | L5J 1K5 | 2466 | Square meters | 70 | 0 | 401812.9 | kWh | 53260.2 | Cubic Meter | 0 | Litre | 139285.2831 | 36.4624
Credit Village Marina | Administrative offices and related facilities, including municipal council chambers | 12 Stavebank Road South | Mississauga | L5G 2T1 | 184 | Square meters | 70 | 0 | 45501.8 | kWh | 1470.3 | Cubic Meter | 0 | Litre | 7149.7818 | 30.8639
Erin Mills Twin Arena | Indoor ice rinks | 3205 Unity Dr | Mississauga | L5L 4L5 | 6132 | Square meters | 125 | 0 | 954866.9 | kWh | 85659.6 | Cubic Meter | 0 | Litre | 253655.7696 | 28.2593
Fire Station 101 (HQ) | Fire stations and associated offices and facilities | 15 Fairview Road W | Mississauga | L5B 1K7 | 2652 | Square meters | 168 | 0 | 269610.8 | kWh | 60601.9 | Cubic Meter | 0 | Litre | 140469.0096 | 32.0072
Fire Station 102 (Lakeview) | Fire stations and associated offices and facilities | 710 Third Street | Mississauga | L5E 1B9 | 452 | Square meters | 168 | 0 | 41065.8 | kWh | 13338.1 | Cubic Meter | 0 | Litre | 29161.3314 | 37.5764
Fire Station 103 (Clarkson) | Fire stations and associated offices and facilities | 2035 Lushes Avenue | Mississauga | L5J 1H3 | 568 | Square meters | 168 | 0 | 55323.9 | kWh | 8598.9 | Cubic Meter | 0 | Litre | 21570.6199 | 23.9963
Fire Station 104 (Port Credit) | Fire stations and associated offices and facilities | 62 Port Street West | Mississauga | L5H 1E3 | 820 | Square meters | 168 | 0 | 28966 | kWh | 10886.7 | Cubic Meter | 0 | Litre | 23364.5836 | 16.3903
Fire Station 105 (Malton) | Fire stations and associated offices and facilities | 7101 Goreway Drive | Mississauga | L4T 2T5 | 773 | Square meters | 168 | 0 | 69016.8 | kWh | 19255.6 | Cubic Meter | 0 | Litre | 43033.5307 | 32.8899
Fire Station 106 (Dixie) | Fire stations and associated offices and facilities | 3450 Dixie Road | Mississauga | L4Y 2B2 | 518 | Square meters | 168 | 0 | 51228.2 | kWh | 14134.2 | Cubic Meter | 0 | Litre | 31642.4565 | 36.1287
Fire Station 107 (Erindale) | Fire stations and associated offices and facilities | 1965 Dundas Street West | Mississauga | L5K 1R2 | 537 | Square meters | 168 | 0 | 54886.9 | kWh | 9918.8 | Cubic Meter | 0 | Litre | 24024.089 | 27.7328
Fire Station 108 (Streetsville) | Fire stations and associated offices and facilities | 2267 Britannia Road West | Mississauga | L5M 2G6 | 507 | Square meters | 168 | 0 | 42457 | kWh | 9706.9 | Cubic Meter | 0 | Litre | 22429.6975 | 26.6835
Fire Station 109 (Training) | Fire stations and associated offices and facilities | 1735 Britannia Road East | Mississauga | L4W 2A3 | 1142 | Square meters | 168 | 0 | 90230.8 | kWh | 20102.8 | Cubic Meter | 0 | Litre | 46672.6625 | 24.7209
Fire Station 110 (Queensway) | Fire stations and associated offices and facilities | 2316 Hurontario Street | Mississauga | L5B 1N1 | 596 | Square meters | 168 | 0 | 57478.3 | kWh | 6556.8 | Cubic Meter | 0 | Litre | 17916.679 | 19.8218
Fire Station 111 (Meadowvale) | Fire stations and associated offices and facilities | 2740 Derry Road West | Mississauga | L5N 3N5 | 588 | Square meters | 168 | 0 | 53749.6 | kWh | 10777.6 | Cubic Meter | 0 | Litre | 25538.5331 | 26.5898
Fire Station 112 (Creditview) | Fire stations and associated offices and facilities | 4090 Creditview Road | Mississauga | L5C 4E3 | 649 | Square meters | 168 | 0 | 50057.3 | kWh | 7333.4 | Cubic Meter | 0 | Litre | 18672.2271 | 18.3222
Fire Station 114 (Heartland) | Fire stations and associated offices and facilities | 5845 Falbourne St. | Mississauga | L5R 3L8 | 653 | Square meters | 168 | 0 | 66442.9 | kWh | 15693.1 | Cubic Meter | 0 | Litre | 36050.9747 | 33.1813
Fire Station 115 (Erin Mills) | Fire stations and associated offices and facilities | 4595 Glen Erin Dr | Mississauga | L5M 4E8 | 534 | Square meters | 168 | 0 | 45886.5 | kWh | 14173 | Cubic Meter | 0 | Litre | 31202.7959 | 34.1886
Fire Station 117 (North Dixie) | Fire stations and associated offices and facilities | 1090 Nuvik Court | Mississauga | L4W 5E6 | 697 | Square meters | 168 | 0 | 69498.8 | kWh | 13124 | Cubic Meter | 0 | Litre | 31487.2535 | 27.8546
Fire Station 118 (East Credit) | Fire stations and associated offices and facilities | 1045 Bristol Road West | Mississauga | L5V 2J8 | 733 | Square meters | 168 | 0 | 85585.2 | kWh | 13711.3 | Cubic Meter | 0 | Litre | 34142.5566 | 29.3165
Fire Station 119 (Airport-Leased) | Fire stations and associated offices and facilities | 3201 Elmbank Road | Mississauga | L4V 1A6 | 729 | Square meters | 168 | 0 | 77447.7 | kWh | 17636 | Cubic Meter | 0 | Litre | 40781.1749 | 33.7559
Fire Station 121 (Meadowvale Village) | Fire stations and associated offices and facilities | 6745 Mavis Road | Mississauga | L5W 1L9 | 760 | Square meters | 168 | 0 | 77528.6 | kWh | 12931.4 | Cubic Meter | 0 | Litre | 31894.3007 | 26.277
Fire Station 122 (Churchill Meadows) | Fire stations and associated offices and facilities | 3600 Thomas St | Mississauga | L5M 7E2 | 769 | Square meters | 168 | 0 | 75673.9 | kWh | 15859.1 | Cubic Meter | 0 | Litre | 37251.364 | 29.5044
Frank McKechnie Community Centre | Public libraries | 310 Bristol Road East | Mississauga | L5R 2J8 | 820.8 | Square meters | 72 | 0 | 101832.6 | kWh | 18017.2 | Cubic Meter | 0 | Litre | 43843.8077 | 33.1992
Frank McKechnie Community Centre | Administrative offices and related facilities, including municipal council chambers | 310 Bristol Road East | Mississauga | L5R 2J8 | 469 | Square meters | 114 | 0 | 58190.1 | kWh | 10295.6 | Cubic Meter | 0 | Litre | 25053.7165 | 33.2013
Frank McKechnie Community Centre | Indoor swimming pools | 310 Bristol Road East | Mississauga | L5R 2J8 | 1934.8 | Square meters | 91 | 0 | 487341.8 | kWh | 86225.3 | Cubic Meter | 0 | Litre | 209824.1867 | 67.4025
Frank McKechnie Community Centre | Gyms and indoor courts for playing tennis, basketball or other sports | 310 Bristol Road East | Mississauga | L5R 2J8 | 410.4 | Square meters | 108 | 0 | 50916.3 | kWh | 9008.6 | Cubic Meter | 0 | Litre | 21921.9038 | 33.1992
Frank McKechnie Community Centre | Community centres | 310 Bristol Road East | Mississauga | L5R 2J8 | 1641.6 | Square meters | 114 | 0 | 203665.2 | kWh | 36034.5 | Cubic Meter | 0 | Litre | 87687.8044 | 33.1992
Fusion Centre | Community centres | 2700 Lakeshore Rd W | Mississauga | L5J 1K3 | 764 | Square meters | 50 | 0 | 181240.4 | kWh | 0 | Cubic Meter | 0 | Litre | 17406.328 | 22.039
Garry W Morden Centre | Fire stations and associated offices and facilities | 7535 Ninth Line | Mississauga | L5N 7C3 | 6157 | Square meters | 70 | 0 | 1490695.8 | kWh | 84846.2 | Cubic Meter | 0 | Litre | 303578.9412 | 36.0993
Hershey Centre | Indoor ice rinks | 5500 Rose Cherry Place | Mississauga | L4Z 4B6 | 23407 | Square meters | 125 | 0 | 4917280.1 | kWh | 447938.5 | Cubic Meter | 0 | Litre | 1319140.2032 | 38.4117
Hershey Centre Change House | Indoor recreational facilities | 5725 Rose Cherry Place | Mississauga | L4Z 4B6 | 311 | Square meters | 70 | 0 | 363161.3 | kWh | 0 | Cubic Meter | 0 | Litre | 34878.0113 | 108.4848
Hershey Centre Sports Complex | Gyms and indoor courts for playing tennis, basketball or other sports | 5600 Rose Cherry Place | Mississauga | L4Z 4B6 | 1260 | Square meters | 125 | 0 | 167166.7 | kWh | 11077.5 | Cubic Meter | 0 | Litre | 36998.1105 | 21.0061
Hershey Centre Sports Complex | Administrative offices and related facilities, including municipal council chambers | 5600 Rose Cherry Place | Mississauga | L4Z 4B6 | 720 | Square meters | 125 | 0 | 95523.9 | kWh | 6330 | Cubic Meter | 0 | Litre | 21141.7843 | 21.0061
Hershey Centre Sports Complex | Indoor recreational facilities | 5600 Rose Cherry Place | Mississauga | L4Z 4B6 | 6120 | Square meters | 125 | 0 | 811952.7 | kWh | 53805.1 | Cubic Meter | 0 | Litre | 179705.3121 | 21.0061
Hershey Centre Sports Complex | Indoor sports arenas | 5600 Rose Cherry Place | Mississauga | L4Z 4B6 | 9900 | Square meters | 125 | 0 | 1313453 | kWh | 87037.7 | Cubic Meter | 0 | Litre | 290699.8518 | 21.0061
Huron Park Community Centre Pool & Arena | Indoor ice rinks | 830 Paisley Blvd W | Mississauga | L5C 3P5 | 3258.5 | Square meters | 125 | 0 | 750539.2 | kWh | 124387.3 | Cubic Meter | 0 | Litre | 307251.7726 | 59.089
Huron Park Community Centre Pool & Arena | Indoor swimming pools | 830 Paisley Blvd W | Mississauga | L5C 3P5 | 1364 | Square meters | 125 | 0 | 314179.2 | kWh | 52069.1 | Cubic Meter | 0 | Litre | 128617.0167 | 59.09
Huron Park Community Centre Pool & Arena | Gyms and indoor courts for playing tennis, basketball or other sports | 830 Paisley Blvd W | Mississauga | L5C 3P5 | 757.8 | Square meters | 125 | 0 | 174544 | kWh | 28927.3 | Cubic Meter | 0 | Litre | 71453.9402 | 59.0883
Huron Park Community Centre Pool & Arena | Administrative offices and related facilities, including municipal council chambers | 830 Paisley Blvd W | Mississauga | L5C 3P5 | 151.6 | Square meters | 125 | 0 | 34908.8 | kWh | 5785.5 | Cubic Meter | 0 | Litre | 14290.8637 | 59.073
Huron Park Community Centre Pool & Arena | Indoor recreational facilities | 830 Paisley Blvd W | Mississauga | L5C 3P5 | 530.5 | Square meters | 125 | 0 | 122180.8 | kWh | 20249.1 | Cubic Meter | 0 | Litre | 50017.7392 | 59.0838
Huron Park Community Centre Pool & Arena | Community centres | 830 Paisley Blvd W | Mississauga | L5C 3P5 | 1515.6 | Square meters | 125 | 0 | 349088 | kWh | 57854.6 | Cubic Meter | 0 | Litre | 142907.8804 | 59.0883
Iceland Arena | Indoor ice rinks | 705 Matheson Boulevard East | Mississauga | L4Z 3X9 | 16490 | Square meters | 125 | 0 | 4877884.6 | kWh | 439473.5 | Cubic Meter | 0 | Litre | 1299352.5019 | 53.7953
Lakefront Promenade Maintenance Depot | Storage facilities where equipment or vehicles are maintained, repaired or stored | 725 Lakefront Promenade | Mississauga | L5E 3G9 | 1078 | Square meters | 55 | 0 | 0 | kWh | 16432.8 | Cubic Meter | 0 | Litre | 31068.2954 | 15.051
Lakefront Promenade Marina | Administrative offices and related facilities, including municipal council chambers | 135 Lakefront Promenade | Mississauga | L5E 3G9 | 420.8 | Square meters | 70 | 0 | 0 | kWh | 15010.3 | Cubic Meter | 0 | Litre | 28378.8785 | 35.2197
Lakefront Promenade Marina | Police stations and associated offices and facilities | 135 Lakefront Promenade | Mississauga | L5E 3G9 | 74.3 | Square meters | 70 | 0 | 0 | kWh | 2648.9 | Cubic Meter | 0 | Litre | 5008.0819 | 35.2005
Lakeview Golf Course | Indoor recreational facilities | 1190 Dixie Rd | Mississauga | L5E 2P4 | 653 | Square meters | 84 | 0 | 157941.8 | kWh | 10588.4 | Cubic Meter | 0 | Litre | 35187.4454 | 38.4805
Lakeview Golf Course | Storage facilities where equipment or vehicles are maintained, repaired or stored | 1190 Dixie Rd | Mississauga | L5E 2P4 | 653 | Square meters | 84 | 0 | 157941.8 | kWh | 10588.4 | Cubic Meter | 0 | Litre | 35187.4454 | 38.4805
Lakeview Library | Public libraries | 1110 Atwater Ave. | Mississauga | L5E 1M9 | 705 | Square meters | 72 | 0 | 116883.6 | kWh | 14073 | Cubic Meter | 0 | Litre | 37832.2947 | 35.1118
Lions Club of Credit Valley Pool Building | Indoor recreational facilities | 20 Rosewood Ave | Mississauga | L5G 3H9 | 374 | Square meters | 100 | 0 | 64552.9 | kWh | 14481.3 | Cubic Meter | 0 | Litre | 33578.3973 | 54.2655
Living Arts Centre | Performing arts facilities | 4141 Living Arts Drive | Mississauga | L5B 4B8 | 20632.2 | Square meters | 98 | 0 | 2567749.2 | kWh | 413517.3 | Cubic Meter | 0 | Litre | 1028413.6055 | 31.3509
Lorne Park Hall | Community centres | 1288 Lorne Park Road | Mississauga | L5H 3B1 | 139 | Square meters | 72 | 0 | 2082 | kWh | 2482.6 | Cubic Meter | 0 | Litre | 4893.6259 | 19.0261
Lorne Park Library | Public libraries | 1474 Truscott Dr. | Mississauga | L5J 1Z2 | 1108 | Square meters | 72 | 0 | 134345.6 | kWh | 15515 | Cubic Meter | 0 | Litre | 42235.6293 | 25.0901
Malton Arena | Indoor ice rinks | 3430 Derry Rd E | Mississauga | L4T 1A9 | 2702 | Square meters | 125 | 0 | 485717.3 | kWh | 32592.7 | Cubic Meter | 0 | Litre | 108268.9281 | 28.6103
Malton Community Centre | Gyms and indoor courts for playing tennis, basketball or other sports | 3540 Morningstar Dr | Mississauga | L4T 1Y2 | 696.2 | Square meters | 125 | 0 | 196467.9 | kWh | 23139.1 | Cubic Meter | 0 | Litre | 62616.1843 | 59.0332
Malton Community Centre | Administrative offices and related facilities, including municipal council chambers | 3540 Morningstar Dr | Mississauga | L4T 1Y2 | 696.2 | Square meters | 125 | 0 | 196467.9 | kWh | 23139.1 | Cubic Meter | 0 | Litre | 62616.1843 | 59.0332
Malton Community Centre | Indoor recreational facilities | 3540 Morningstar Dr | Mississauga | L4T 1Y2 | 1183.5 | Square meters | 125 | 0 | 333995.4 | kWh | 39336.5 | Cubic Meter | 0 | Litre | 106447.5672 | 59.0352
Malton Community Centre | Indoor swimming pools | 3540 Morningstar Dr | Mississauga | L4T 1Y2 | 1253.2 | Square meters | 125 | 0 | 353642.2 | kWh | 41650.4 | Cubic Meter | 0 | Litre | 112709.1677 | 59.0313
Malton Community Centre | Public libraries | 3540 Morningstar Dr | Mississauga | L4T 1Y2 | 1531.6 | Square meters | 72 | 0 | 432229.4 | kWh | 50906.1 | Cubic Meter | 0 | Litre | 137755.7587 | 59.0348
Malton Community Centre | Community centres | 3540 Morningstar Dr | Mississauga | L4T 1Y2 | 1601.3 | Square meters | 125 | 0 | 451876.1 | kWh | 53220 | Cubic Meter | 0 | Litre | 144017.3496 | 59.0317
Malton Day Care Centre | Administrative offices and related facilities, including municipal council chambers | 3500 Morningstar Dr | Mississauga | L4T 1Y2 | 535 | Square meters | 55 | 0 | 0 | kWh | 12872.3 | Cubic Meter | 0 | Litre | 24336.7179 | 23.7561
Malton Hall (Victory) | Community centres | 3091 Victory Cres | Mississauga | L4T 1L5 | 279 | Square meters | 72 | 0 | 7663.7 | kWh | 6776.3 | Cubic Meter | 0 | Litre | 13547.4775 | 26.5325
Malton Satellite Terminal | Storage facilities where equipment or vehicles are maintained, repaired or stored | 6780 Professional Court | Mississauga | L4V 1X6 | 2070 | Square meters | 140 | 0 | 807089.5 | kWh | 201352.6 | Cubic Meter | 0 | Litre | 458195.5377 | 132.2643
Malton Yard | Storage facilities where equipment or vehicles are maintained, repaired or stored | 7100 Fir Tree Dr | Mississauga | L5S 1G5 | 2466 | Square meters | 70 | 0 | 293040 | kWh | 63148.5 | Cubic Meter | 0 | Litre | 147533.8207 | 36.3236
Mary Fix House | Cultural facilities | 25 Pinetree Way | Mississauga | L5G 0A2 | 140 | Square meters | 70 | 0 | 7048.8 | kWh | 0 | Cubic Meter | 0 | Litre | 676.9668 | 4.6775
Mavis North | Administrative offices and related facilities, including municipal council chambers | 3235 Mavis Rd | Mississauga | L5C 1T7 | 2799 | Square meters | 50 | 0 | 375085.7 | kWh | 43876.3 | Cubic Meter | 0 | Litre | 118976.9481 | 27.9271
Mavis South | Administrative offices and related facilities, including municipal council chambers | 3185 Mavis Rd | Mississauga | L5C 1T7 | 3179.4 | Square meters | 70 | 0 | 561521 | kWh | 40932.4 | Cubic Meter | 0 | Litre | 131316.3775 | 29.1192
Mavis South | Storage facilities where equipment or vehicles are maintained, repaired or stored | 3185 Mavis Rd | Mississauga | L5C 1T7 | 2119.6 | Square meters | 70 | 0 | 374347.3 | kWh | 27288.3 | Cubic Meter | 0 | Litre | 87544.3115 | 29.1192
Meadowvale 4 Rinks | Indoor ice rinks | 2160 Torquay Mews | Mississauga | L5N 2M6 | 7829.3 | Square meters | 125 | 0 | 2822755.3 | kWh | 231860.3 | Cubic Meter | 0 | Litre | 709458.7624 | 62.7349
Meadowvale 4 Rinks | Administrative offices and related facilities, including municipal council chambers | 2160 Torquay Mews | Mississauga | L5N 2M6 | 1381.6 | Square meters | 125 | 0 | 212465.5 | kWh | 17451.9 | Cubic Meter | 0 | Litre | 53400.22 | 26.7587
Meadowvale C.C. | Administrative offices and related facilities, including municipal council chambers | 6655 Glen Erin Dr | Mississauga | L5N 3L4 | 38.2 | Square meters | 100 | 0 | 9166.5 | kWh | 1007.2 | Cubic Meter | 0 | Litre | 2784.5902 | 48.3261
Meadowvale C.C. | Indoor swimming pools | 6655 Glen Erin Dr | Mississauga | L5N 3L4 | 877.9 | Square meters | 125 | 0 | 210830.5 | kWh | 23166.7 | Cubic Meter | 0 | Litre | 64047.7497 | 48.366
Meadowvale C.C. | Indoor recreational facilities | 6655 Glen Erin Dr | Mississauga | L5N 3L4 | 916.1 | Square meters | 125 | 0 | 219997.1 | kWh | 24174 | Cubic Meter | 0 | Litre | 66832.5386 | 48.3644
Meadowvale C.C. | Community centres | 6655 Glen Erin Dr | Mississauga | L5N 3L4 | 1984.8 | Square meters | 125 | 0 | 476660.4 | kWh | 52376.9 | Cubic Meter | 0 | Litre | 144803.6461 | 48.3664
Meadowvale Community Theatre | Performing arts facilities | 6315 Montevideo Rd | Mississauga | L5N 4G7 | 2028 | Square meters | 40 | 0 | 329132.9 | kWh | 47416.2 | Cubic Meter | 0 | Litre | 121256.2717 | 38.1627
Meadowvale Depot | Storage facilities where equipment or vehicles are maintained, repaired or stored | 6300 Millcreek Dr | Mississauga | L5N 7K1 | 1640 | Square meters | 70 | 0 | 339109.4 | kWh | 20049.7 | Cubic Meter | 0 | Litre | 70474.5709 | 31.2807
Meadowvale Library | Public libraries | 6677 Meadowvale T.Cen. | Mississauga | L5N 2R5 | 1552 | Square meters | 72 | 0 | 210521.9 | kWh | 14284.7 | Cubic Meter | 0 | Litre | 47225.5628 | 21.6895
Meadowvale Village C.C. Hall | Community centres | 6970 Second Line W | Mississauga | L5W 1A1 | 250 | Square meters | 72 | 0 | 91251.7 | kWh | 11343.2 | Cubic Meter | 0 | Litre | 30209.5735 | 78.7092
Miss. Sr Ctzn Ctr | Community centres | 1389 Cawthra Rd | Mississauga | L5G 4L1 | 2880 | Square meters | 72 | 0 | 244465.5 | kWh | 23582.5 | Cubic Meter | 0 | Litre | 68064.1778 | 15.9708
Miss. Valley Gymnastics Centre | Indoor recreational facilities | 1395 Mississauga Valley Blvd | Mississauga | L5A 3R8 | 1939 | Square meters | 98 | 0 | 347983.6 | kWh | 15489.2 | Cubic Meter | 0 | Litre | 62704.6447 | 24.5601
Mississauga Canoe Club | Indoor recreational facilities | 33 Front St N | Mississauga | L5H 2E1 | 472 | Square meters | 70 | 0 | 0 | kWh | 12310.9 | Cubic Meter | 0 | Litre | 23275.3199 | 25.7525
Mississauga Central Library | Public libraries | 301 Burnhamthorpe Rd. W. | Mississauga | L5B 3Y3 | 18042.5 | Square meters | 72 | 0 | 2285639.8 | kWh | 174116.1 | Cubic Meter | 0 | Litre | 548701.4462 | 21.2973
Mississauga City Hall | Administrative offices and related facilities, including municipal council chambers | 300 City Centre Drive | Mississauga | L5B 3C1 | 38825.4 | Square meters | 70 | 0 | 4485478.5 | kWh | 319558.2 | Cubic Meter | 0 | Litre | 1034950.7161 | 18.8596
Mississauga City Hall | Parking garages | 300 City Centre Drive | Mississauga | L5B 3C1 | 9013 | Square meters | 70 | 0 | 1035110.4 | kWh | 74958.1 | Cubic Meter | 0 | Litre | 241129.8105 | 18.8811
Mississauga Valley Community Centre | Indoor ice rinks | 1275 Mississauga Valley Blvd | Mississauga | L5A 3R8 | 3192 | Square meters | 138 | 0 | 697741 | kWh | 64464 | Cubic Meter | 0 | Litre | 188888.4246 | 40.2478
Mississauga Valley Community Centre | Indoor swimming pools | 1275 Mississauga Valley Blvd | Mississauga | L5A 3R8 | 1276.8 | Square meters | 126 | 0 | 279096.4 | kWh | 25785.6 | Cubic Meter | 0 | Litre | 75555.3698 | 40.2478
Mississauga Valley Community Centre | Administrative offices and related facilities, including municipal council chambers | 1275 Mississauga Valley Blvd | Mississauga | L5A 3R8 | 212.8 | Square meters | 100 | 0 | 46516.1 | kWh | 4297.6 | Cubic Meter | 0 | Litre | 12592.5648 | 40.2478
Mississauga Valley Community Centre | Public libraries | 1275 Mississauga Valley Blvd | Mississauga | L5A 3R8 | 851.2 | Square meters | 60 | 0 | 186064.3 | kWh | 17190.4 | Cubic Meter | 0 | Litre | 50370.2498 | 40.2478
Mississauga Valley Community Centre | Indoor recreational facilities | 1275 Mississauga Valley Blvd | Mississauga | L5A 3R8 | 851.2 | Square meters | 92 | 0 | 186064.3 | kWh | 17190.4 | Cubic Meter | 0 | Litre | 50370.2498 | 40.2478
Mississauga Valley Community Centre | Community centres | 1275 Mississauga Valley Blvd | Mississauga | L5A 3R8 | 4256 | Square meters | 138 | 0 | 930321.3 | kWh | 85952 | Cubic Meter | 0 | Litre | 251851.2296 | 40.2478
Old Fire Hall - Malton (Malton Boy Scouts) | Administrative offices and related facilities, including municipal council chambers | 3136 Victory Crescent | Mississauga | L4T 1L6 | 226 | Square meters | 70 | 0 | 6690.9 | kWh | 116.8 | Cubic Meter | 0 | Litre | 863.4193 | 3.2607
Ontario Court of Justice | Administrative offices and related facilities, including municipal council chambers | 950 Burnhamthorpe Road W | Mississauga | L5C 3B4 | 11767 | Square meters | 70 | 0 | 1145618.7 | kWh | 124974.3 | Cubic Meter | 0 | Litre | 346305.0058 | 19.5313
Port Credit Arena | Indoor ice rinks | 40 Stavebank Rd | Mississauga | L5G 2T8 | 4937 | Square meters | 125 | 0 | 1058762.4 | kWh | 104967.6 | Cubic Meter | 0 | Litre | 300138.1196 | 40.916
Port Credit Library | Public libraries | 20 Lakeshore Rd. E | Mississauga | L5G 1C8 | 754 | Square meters | 72 | 0 | 165944.3 | kWh | 13747.7 | Cubic Meter | 0 | Litre | 41929.0634 | 38.449
Rivergrove Community Centre & Pool | Indoor swimming pools | 5800 River Grove Avenue | Mississauga | L5M 4R9 | 2154.2 | Square meters | 100 | 0 | 712724 | kWh | 90205.7 | Cubic Meter | 0 | Litre | 238995.3449 | 72.082
Rivergrove Community Centre & Pool | Indoor recreational facilities | 5800 River Grove Avenue | Mississauga | L5M 4R9 | 1267.2 | Square meters | 100 | 0 | 419249.4 | kWh | 53062.1 | Cubic Meter | 0 | Litre | 140585.3513 | 72.0806
Rivergrove Community Centre & Pool | Gyms and indoor courts for playing tennis, basketball or other sports | 5800 River Grove Avenue | Mississauga | L5M 4R9 | 760.3 | Square meters | 100 | 0 | 251549.7 | kWh | 31837.3 | Cubic Meter | 0 | Litre | 84351.2922 | 72.0825
Rivergrove Community Centre & Pool | Community centres | 5800 River Grove Avenue | Mississauga | L5M 4R9 | 1837.4 | Square meters | 100 | 0 | 607911.7 | kWh | 76940.1 | Cubic Meter | 0 | Litre | 203848.8701 | 72.0822
Rivergrove Community Centre & Pool | Administrative offices and related facilities, including municipal council chambers | 5800 River Grove Avenue | Mississauga | L5M 4R9 | 316.8 | Square meters | 100 | 0 | 104812.4 | kWh | 13265.5 | Cubic Meter | 0 | Litre | 35146.2954 | 72.0805
Riverwood Park/ McEwan Estate | Cultural facilities | 4170 Riverwood Park Lane | Mississauga | L5C 2S7 | 343.7 | Square meters | 72 | 0 | 76 | kWh | 1408.3 | Cubic Meter | 0 | Litre | 2669.869 | 4.0662
Riverwood Park/ McEwan Estate | Art galleries | 4170 Riverwood Park Lane | Mississauga | L5C 2S7 | 667.3 | Square meters | 72 | 0 | 147.5 | kWh | 2733.7 | Cubic Meter | 0 | Litre | 5182.5729 | 4.0654
Semenyk Crt - T&W Administration-TEP | Administrative offices and related facilities, including municipal council chambers | 3484 Semenyk Court | Mississauga | L5C 4R1 | 2422 | Square meters | 50 | 0 | 354734.6 | kWh | 31134.7 | Cubic Meter | 0 | Litre | 92932.8154 | 26.2993
Sheridan Library | Public libraries | 2225 Erin Mills Pky. | Mississauga | L5K 1T9 | 525 | Square meters | 72 | 0 | 67158.9 | kWh | 0 | Cubic Meter | 0 | Litre | 6449.9408 | 11.8843
South Common Community Centre Library & Pool | Administrative offices and related facilities, including municipal council chambers | 2233 South Millway Dr | Mississauga | L5L 3H7 | 69.8 | Square meters | 100 | 0 | 14449.8 | kWh | 2042 | Cubic Meter | 0 | Litre | 5248.4191 | 48.1175
South Common Community Centre Library & Pool | Public libraries | 2233 South Millway Dr | Mississauga | L5L 3H7 | 1326 | Square meters | 72 | 0 | 274546 | kWh | 38798.1 | Cubic Meter | 0 | Litre | 99720.1332 | 48.1248
South Common Community Centre Library & Pool | Indoor recreational facilities | 2233 South Millway Dr | Mississauga | L5L 3H7 | 1256.2 | Square meters | 125 | 0 | 260096.2 | kWh | 36756.1 | Cubic Meter | 0 | Litre | 94471.7141 | 48.1253
South Common Community Centre Library & Pool | Community centres | 2233 South Millway Dr | Mississauga | L5L 3H7 | 2093.7 | Square meters | 120 | 0 | 433493.7 | kWh | 61260.2 | Cubic Meter | 0 | Litre | 157452.9231 | 48.1245
South Common Community Centre Library & Pool | Indoor swimming pools | 2233 South Millway Dr | Mississauga | L5L 3H7 | 1675 | Square meters | 125 | 0 | 346794.9 | kWh | 49008.2 | Cubic Meter | 0 | Litre | 125962.4083 | 48.1234
South Common Community Centre Library & Pool | Gyms and indoor courts for playing tennis, basketball or other sports | 2233 South Millway Dr | Mississauga | L5L 3H7 | 558.3 | Square meters | 125 | 0 | 115598.3 | kWh | 16336.1 | Cubic Meter | 0 | Litre | 41987.5325 | 48.1263
Streetsville Library | Public libraries | 112 Queen Street South | Mississauga | L5M 1K8 | 867 | Square meters | 72 | 0 | 149459.3 | kWh | 12012 | Cubic Meter | 0 | Litre | 37064.2827 | 29.6947
Tomken Twin Arena | Indoor ice rinks | 4495 Tomken Road | Mississauga | L4W 1J9 | 6594 | Square meters | 125 | 0 | 1431044.5 | kWh | 157185.3 | Cubic Meter | 0 | Litre | 434616.286 | 43.6982
Transit Campus Bldg A B C D - Storage Admin Repair | Storage facilities where equipment or vehicles are maintained, repaired or stored | 975 Central Parkway W | Mississauga | L5C 3B1 | 31175 | Square meters | 168 | 0 | 6604759.4 | kWh | 1265215.7 | Cubic Meter | 0 | Litre | 3026372.056 | 59.7535
Transit Campus Bldg E - Storage Garage | Storage facilities where equipment or vehicles are maintained, repaired or stored | 3567 Erindale Station Rd | Mississauga | L5C 2S9 | 10412 | Square meters | 168 | 0 | 1540800 | kWh | 355451.4 | Cubic Meter | 0 | Litre | 820004.446 | 47.4549
Transit Campus Bldg F - Body Shop | Storage facilities where equipment or vehicles are maintained, repaired or stored | 3585 Erindale Station Rd | Mississauga | L5C 2S9 | 2274 | Square meters | 56 | 0 | 0 | kWh | 123949.5 | Cubic Meter | 0 | Litre | 234342.2713 | 53.8179
Woodlands Library | Public libraries | 1030 Mcbride Avenue | Mississauga | L5C 1L6 | 511 | Square meters | 72 | 0 | 0 | kWh | 5134 | Cubic Meter | 0 | Litre | 9706.479 | 9.9199
Transit Drivers Lounge | Administrative offices and related facilities, including municipal council chambers | 7205 Goreway Dr | Mississauga | L4T 2T9 | 56 | Square meters | 168 | 0 | 54012 | kWh | 0 | Cubic Meter | 0 | Litre | 5187.3125 | 89.6049